## Summary
System Name: |  |  |  |  | Treatment: | Membrane
PWSID: |  | Monitoring Period (Month/ Year):
State Assigned ID (Plant ID):
Plant Address: |  |  |  | City: |  |  | Zip:
Contact Name: |  |  |  | Phone#:
Combined Filter Effluent Turbidity (CFE) Summary: | [5 empty] | Plant off entire month:
Number of Samples Required*:
Number of Samples Taken:
Number of Samples Exceeding 1 NTU:
Highest Single Turbidity Reading:
Number of Samples Exceeding 0.3 NTU (95% limit):
% of Samples Exceeding 0.3 NTU:
Entry Point Residual Disinfectant (EPRD) Summary: |  |  |  | State Assigned ID: |  |  |  | For Use by State:
For Chlorine or Chloramine
Number of Samples Required:
Number of Samples Taken:
Number of Samples under 0.2 mg/L (Federal level):
| If applicable, number of Samples under | _____ | mg/L (State Defined level):
= Required for data processing
number required per day X number of days in month
number of plant offlines (PO)
minus
*Samples Required=

## Data Sheet
System Name: | [7 empty] | PWSID: |  |  | State Assigned ID: |  |  |  | Monitoring Period:
Required Number of Turbidity Readings Per Day: | [8 empty] | Required Number of Chlorine Readings Per Day:
| Combined Filter Effluent Turbidity (NTU) | [7 empty] | Entry Point Residual Disinfection (mg/L) | [6 empty] | Comments*
Day | 12-4a Time: ____ | 4a-8a Time: ____ | 8a-12 Time: ____ | 12-4p Time: ____ | 4p-8p Time: ____ | 8p-12 Time: ____ | Highest Turbidity Reading | Highest Reading Time | 12-4a Time: ______ | 4a-8a Time: ______ | 8a-12 Time: ______ | 12-4p Time: ______ | 4p-8p Time: ______ | 8p-12 Time: ______ | Lowest Residual Reading
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| *If the plant is offline input "PO" in the blank | [7 empty] | *If at ANY time the entry point residual chlorine falls below 0.2 mg/L, the system must call the SWTR Manager. | [7 empty] | Version 2009b.1